Code No: 52215/MT

M.Tech. II-Semester Examinations, July/August-2006.

ADVANCED POWER SYSTEM PROTECTION

(Common to Electrical Power System and Electrical Power

Engineering)

Time: 3 hours                  Max. Marks: 60

Answer any FIVE questions

All questions carry equal marks

- – -

1.a)  Explain, what is meant by primary protection and Back up

protection.

b)  Define the terms (i) Burden (ii) Pick up  (iii) Reset  (iv) operating

time.

2.a)  State various applications of over current relaying.  Distinguish

between inverse characteristic and Definite characteristic.

b)  With the help of neat sketches explain the principle of the

following:

(i) Time over current static relay.

(ii) Definite time over current static relay.

3.a)  Define the following terms and explain their significance in

distance protection (i) Reach of a distance relay (ii) Underreach.

b)  Explain how the arc resistance introduces an error in distance

measurement.

4.a)  What are the merits of carrier current protection?  Why should it

be used in impedance or other type of non-unit protection?

b)  Explain the phase comparision method of carrier current

protection.

5.a)  Explain the differential equation technique used for the protection

of Power System Network.

b)  What is meant by Walsh-Hadamard transform technique?

Discriminate the Walsh-Hadamard technique with Rationalized

harr transform technique.

6.a)  Explain the architecture of a Microprocessor based micro

computer.  State clearly the functions of RAM, ROM, CPU, I/o.

b)  State the application of Microprocessor in Power System

Protection.

7.a)  Derive the Generalized mathematical expressions for Distance

relays.

b)  Explain the Microprocessor based reactance relay.

8.  Explain the Microprocessor implementation of digital distance

relaying algorithms.