INSTRUCTIONS

IMMEDIATELY AFTER THE COMMENCEMENT OF THE EXAMINATION, YOU SHOULD

CHECK THAT THIS TEST BOOKLET DOES NOT HAVE ANY UNPRINTED OR TORN

OR MISSING PAGES OR ITEMS ETC. IF SO, GET IT REPLACED BY A COMPLETE

TEST- BOOKLET. -

ENCODE CLEARLY THE TEST BOOKLET SERIES A, B, C, OR D AS THE CASE MAY

BE IN THE APPROPRIATE PLACE IN THE ANSWER SHEET.

You have to enter your Roll Number on the

Test Booklet in the Box provided alongside.

DO NOT.write anything else on the Test Booklet.

This Test Booklet contains 120 items (questions). Each item comprises four responses

(answers). You will select the response which you want to mark on the Answer Sheet. In

case you feel that there is more than one correct response, mark the response which you

consider the best. In any case, choose ONLY ONE response for each item.

You have to mark all your responses ONLY on the separate Answer Sheet provided. See

directions in the Answer Sheet. _ '

All items carry equal marks.

Before you proceed to mark in the Answer Sheet the response to various items in the Test

Booklet, you have to fill in some particulars in the Answer Sheet as per instructions sent to

you with your Admission Certiﬁcate.

After you have completed ﬁlling in all your responses on the Answer Sheet and the

examination has concluded, you should hand over to the Invigilator only the Answer Sheet.

You are permitted to take away with you the Test Booklet.

Sheets for rough work are appended in the Test Booklet at the end.

Penalty for wrong answers : .

'THERE WILL BE PENALTY FOR WRONG ANSWERS MARKED BY A CANDIDATE IN THE

OBJECTIVE TYPE QUESTION PAPERS.

(i) There are four alternatives for the answer to every question. For each question for which a wrong

answer has been given by the candidate, one-third (0-33) of the marks assigned to that question

-will be deducted as penalty. I

(ii) If a candidate gives more than one answer, it will be treated as a wrong answer even if one of

the given answers happens to be correct and there will be same penalty as above to that question.

(iii) If a question is left blank, i.e., no answer is given by the candidate, there will be no penalty for

that question.

DO NOT OPEN THIS TEST BOOKLET UNTIL YOU ARE ASKED TO DO SOPage 2

um ---

1. *-c'==-\----@15 -2£2 ""919

c \Nvx-

Z(S)""'"—> IFII g1!) 1F

For the driving point impedance function,-

2

Z(s) = ail—+7515, the circuit realization is

s +35+b

shown above. The values of ‘a’ and ‘b’

respectively are ‘

(a) 4 and 5

_ (b) 2 and 5

(c) 2 and 1

(d) 2 and 3

2. Consider the following statements :

The A to D converter used in a digital

instrument could be

1. Successive approximation converter

type.

‘ 2. Flash converter type.

3. Dual slope converter-type.

The correct sequence in the increasing order

of the conversion time taken by these types

is

(a) l, 2 and 3

(b) 2, 1 and 3

(c) l, 3 and 2

(d) 2, a and i

Q-GUG-K-FFA

4.

tzQAi

For photoconductors with equal electron and

hole mobilities and perfect ohmic contacts at

the ends, an increase in intensity of optical

illumination results in '

(a) a change in open circuit voltage

(b)? a change in short circuit current

(c) decrease in resistance

(d) increase in resistance

Consider the following statements in

connection with two-position controller :

1. If the controller has a 4% neutral zone,

‘ its positive error band will be 2% and

negative error band will be 8%.

2. The neutral zone is also known as dead

band.

3. The‘controller action of a two-position

controller is very similar to that of a

pure on-off controller.

4. Air-conditioning system works

essentially on a two-position control

basis. ‘

Which of the above statements are correct ?

(a) 1, 2 and 3 only

(b) 2, 3 and 4 only

(c) 2 and 4 only

(d) 1, 2, 3 and 4

For the following driving point impedance

functions, which of the following statements is

true ?

s+2‘

Z(s)=

1 52+35+5

s+2

Z(s)=

2 52+5

I 5+3

Z (s) = ———

3 $2+2s+1

Z405) _ (s+2)(s+4)

" (s+1)(s+3)

(a) Z1 is not positive real

(b) Z2 is positive real

- (c) Z3 is positive real

(d) Z4 is positive real 'Page 3

.6.

A piezoelectric crystal has a thickness of 9.

2-5 mm and a 'voltage sensitivity of

0-05 Vin/N. The piezoelectric crystal is I

subjected to an external _pressure_ of

1-6 x L06 N/m2, then the corresponding

output voltage is -

(a) 200 volts ‘

(b) .' 3-2 x 109 volts/m of thickness

(c) 0-07 X 10-9 V/(mS/New)

(d) 200 m volts.

'7.

2(5) ' 0'

——>

c—

A reactance' network ‘in the Foster’s I form

_ has poles at 0) = 0 (zero) and 0):Do

(inﬁnity). The element in box-1 in the above

network is 10.

(a) a capacitor

(h) an inductor

(c) a parallel LC circuit

((1) a series LC circuit

8|. The measurement of Hall coefﬁcient of -a

semiconductor with one type of charge-

carrier gives the information about

(a) sign of charge carrier

(b) density of charge carrier ‘

(c) - I both sign and density of charge carrier

((1) mass of the 'charge carrier

Q-GUG-K-FFA "[ 3 — A )

Consider the following statements with

reference to the phase plane :

1.7 They are general and applicable to a

system of any order.

2. Steady state accuracy and existence of

limit cycle can be predicted. 7 i

3. Amplitude and frequency of limit cycle if

exists can be evaluated.

4. Can be applied to discontinuous time

system. ‘

Which of the above statements are correct ?

(a) 1,2, 3 and 4 I

(b) ‘ 2 and 3 only

(c) 3 and 4 only

(d) 2, 3 and 4 only

Consider the following units 'for the

measurement of pressure directly : I

1. Rolta meter I

2. Bourdon tube

3. Planti meterl

4.. ‘ Varies J

Of these, the pressure can be measured by

(a) 1 and 2 only

(b) 3 and 4 only

(c) 2 only

(d) 1, 2, 3 and 4Page 4

11. 1 14.

‘ 1c 'wv» . O 2

Z11(s)i~—> 2L gRz *— Z22(S)

I ll: *0 2!

For the circuit shown above, the natural

frequencies at port 2 are given by s + 2 =‘ 0

and s + 5 = 0, without knowing which refers

to open-circuit and which to short-circuit.

Then the impedances Z11 and Z22 are given

respectively by

s + 5 s + 2

(a) K ,'

1 s + 2 K2 5 + 5

s + 2 s + 5

(b) K ,

1 s + 5 K2 5 + 2

s s + 2

c K —

( l 1 s + 5 K2 5 + 5

15.

s + 2 - s + 2

d K ,

( ) 1 s f 5 K2 s + 5

12. If reﬂection coefficient for voltage beIO-G, the

' voltage standing wave ratio (VSWR) is

(a). 0-66

(b) -4

(c) 1-5

(d) 2

13. Consider the following statements :

Piezoelectric materials serve as

1. 'A source of ultrasonic waves.

2. When electric ﬁeld is applied, the

mechanical dimensions of the

substances are not at all altered.

3. Converts electrical energy to mechanical

and vice versa.

4. Converts thermal energy to electrical

energy. . '

Which of the above statements is/are correct '?

(a) 1 only

(b) 2 and 3 only

(c) 1 and only,

(d) - 1, 2, 3 and 4

Q-GUG-K-FFA l 4 - A l

A two-port network is deﬁned by the

relation;

I1: 5Vl + 3V2

I2 = 2V1 — 7V2

The value of Z12 is

(a) 3

(b) - —3

3 _

(C) H

(d) 3

Consider the following statements :

1. The main shortcomings of diaphragms

are that they are prone to shock

vibrations.

2. Diaphragms have the advantages of high

accuracy and good dynamic response.

3. Selection of material for diaphragms

mainly depends upon temperature range

and chemical nature of ﬂuid coming in

contact with diaphragm during pressure

measurement. I

Which of

correct ?

the above statements ‘ is/are

(a) 1, 2 and 3

(b) 2 and 3 only

(e) 1 only

(all 1 and 2 onlyPage 5

16. The Z-transform of X(K) is given by 18. Consider the following statements :

Z _ E1‘_.B_T)Z_1 Piezoelectric materials ‘

x( ) _ (I _ Z-1)(1 __e-TZ-1) 1.. . Crystal can be shown as electrical

equivalent circuit similar to an inductor

The initial value Km) is and a capacitor (Tank circuit).

2. Quartz, Rochelle salt, tourmaline.

a) zero '

( Used in voltage stabilizers.-

(b) 1 - 4. This exhibits the reverse effect of

electrostriction.

(c) 2

Which of the above statements are correct ?

(d) 3 I - (a) 1,2 and 4 only

I -(b) 1 and 2 onlyr

(c) 2 and 4 only

1 '(d) 1,2,3and4

17- L, ‘25 Q .

e W 0

+ + _ .

19. A balanced RYE-sequence, Y-connected (Star

7V1 1009; 211 - V2 connected) source with VRN = 100 volts‘is

connected to a A-connected (Delta connected)

_ _ balanced load of (8 + j6) ohms per phase.

0 '0

Then the phase current and line current

values respectively, are

The Y-parameters of the network shown

above are (a) 10 A; 30 A

(b) 10J§ A; 30 A

—0'04 004

(a) |: 1 (c) 10 A; 10 A

_-0-04 0-03

(d) 1.0J5A; 10J§A

(b) 004 _0'04 20. A resistance strain gage with gage factor

A ,_O-04 —003 (Sr) of 2 is bonded to a steel member, which

is subjected to a strain of 1 X 10—6. The

- _ original resistance value of this strain gage

F 0-04 —O-03 is 120 Q. The change in resistance due to

(c) . _. . -

__0_04 0.03 the applied strain 15

(a) 60 Q

_ (b) 240 >< 10-6 n _

—0-04 0-03

(d) 1 -(c) 2400 x

_ 0-04 0-037 (d) 60 x 10* o

Q-GUG-K-FFA I j 5 - A

A two-port network is described 'by the

21.

following equations : -

V1: 5011 +2012

V2 = 3011} 1012

Then, which one of the following is not

correct ? ‘

(a) Z12 = 20 ' '

(b) Y12 = 0-2

I (c) ‘ h12 = 2b

(a) A = 25

‘ 22. Match List I with last Il and select the correct

answer using the code given below the lists :

List I List I]

A. Hall effect- 1. Varistor

B._ Light energy . 2. Photodiodes

C. Electric ﬁeld 3. Measuring low

magnetic ﬁeld

D. Applied voltage 4. Liquid crystal

, display

Code :

A B C D

(a) 1 2 4 3

(b) 3 2 4 1 P

(c) \ 1 4 ' 2 3

‘ (d) 3 4 2 ' 1

23. The system matrix of a continuous time

system is given by A = [ O3 15]. Then the

characteristic equation is H

.(a) sz+5s+3l=0

(b) $2-ss-5=0

(c) s2+35+5=0

,(d) 52+s+2=0

Q-GUG-K-FFA

24.

25.

26.

'(6—Al

Consider the following statements -:

The transfer impedances of a 2-.port network

remain constant when the position of

excitation and response are interchanged if

the network ' '

‘ l. is linear: '

. -: I - ' ' '

2. contains bilateral elements.

3. has high impedance.

4. is resonant.

Which of the above statements

correct ?

is/are

'(a) 1 and 2 only

(1)) l, 3 and 4.0n1y

(c) 2 only

(6) 1, 2, 3 and. 4

When a

m agnetized,

substance is

small

ferromagnetic

there are changes in

dimensions. The phenomenon is called

(a)

Hysteresis

(b) Magnetostriction

(c) Diamagnetism

(d) Dipolar relaxation

For a parallel RLC circuit, if R = 409,

L = 2' 1-1 and c =' 0-5 F, the bandwidth and

quality factor are respectively

(a) 20 rad/s, 0-05

(b) 10 rad/s, 20

(c) .20 rad/s, 10

(d) 005 rad/s, 20Page 7

27. Consider the following statements :

1. Electromagnetic flowmeter is

independent of liquid density.

2. Electromagnetic ﬂowmeter cannot be

employed for measuring flow of

non-conducting ﬂuids.

Which of the above statements is/are

correct ? '

(a) 1 only

(b) Both 1 and 2

(c) 2 only

(d) Neither 1 nor 2

28. If a Series RLC circuit resonates at 1-5 kHz

and consumes 100 watts from a 100 volts .1-

a.c. source operating at resonant frequency

with a bandwidth of 0-75 kHz; the values of

R, L and Q-factor of the circuit are '

respectively

(a) 100 Q; H; 2

31:

(b) 50 e; 9-1 H; 4

27c

2

(c) 100 Q; — H; 1

311

(d) 50 Q; H; 3

'29.

so.

31.

l7--Al

' Consider the following statements :

1. The main drawback of digital system is

that the real world is mainly analog.

2. The digital

instruments over analog instruments is

major advantage ' of

higher accuracy and better resolution.

3. Digital instruments are ordinarily used

for the measurement of both analog and

digital quantities.

Which of the above statements. is/are

correct ?

(a) 1, 2, 3 and 4

(b) 1 and 3 only

(c) 2 only

((1) 1 and 2 only

For a parallel resonant circuit, if the

damped frequency is J5 rad/s and the

bandwidth is 2 rad/s, the resonant

frequency of the circuit is

(a) 10 rad/s

(b) - 7 rad/s

(c) _ 3 rad/s

(d) 2 rad/s

The resonant frequency of an RLC series

circuit is 15 MHz with the resonating

capacitor of 150 pF. The bandwidth is

10 kHz. The effective value of the resistor

is

(3) 163 Q

(b). 9-5 :1

(c) 7-4 (2

(d) 4'7 QPage 8

32. A 4-digit DVM (digital voltmeter) with a

100-mV lowest full—scale range would have

a sensitivity of how much value while

resolution of this DVM is 00001 ?

(a) 0-1 mV

(b) 0-01_mV

(c) 1-0mV

'(d) 10 mV

33. For the network function,

T(s) = T—£———, the resonant frequency

s +2s+100

and bandwidth are respectively

(a) 10, 1

(b) 10, 2

(c) 100, 1

(d) 100, 2

'_ 34. The state variable description of a linear

autonomous system is = AX where X is

a two~dimensional vector and A is a matrix

0 -2

given by A = . The poles of the

2 0 V

system are located at

(a) — 2 and + 2

(b) 42 and + 1'2

(c) - 2 and - 2

(d) + 2 and + 2

O-GUG-K-FFA

35.

36.

cB-A)‘

O

a

1

A

w

For the circuit shown above, the two natural

frequencies of the driving-point impedance

Z(s)' are givenbys+1=0ands+4=0 Itis

not known, which is for open-circuit and I

which is for short-circuit. Then Z(s) is given by

3 (5+4)

(a) ——

16 (5+1)

- 3 (5+4)

b _

( ) 4 (5+1)

(s+1)

(C) (5+4).

‘1(s+4)

(d) 0 {5+1}

Match List I with List II and select the correct

answer using the code given below the lists :

List I List H I

(Meter) @3232

A. Reed frequency 1. Moving iron.

meter

B. Weston frequency 2. Vibrating

meter ' '

Ci Weston . 3.‘ Moving coil '7

Synchroscope

D. Ohm meter - 4. Electro-

dynamic

Code :

A B C D

(a) 2 1 4 3

(b) 3 1 4 2

(c) 2 3 4 1'

(d) 3- 4 1 2Page 9

37.

38. ‘

A transfer function has a zero at s = —1 39.

and poles at s = —1 i jl. The multiplier

being unity, if the. input is unit step

function, the steady state response is given

by

(a) 0'5 E

(b) 10 E

(0) 2-0 L01

rd) 2-0 LQQ

Match List I with List II and select the

correct answer using the code given below

the lists : \ '

List I List II

A. Farm-electric 1.‘ Neel

materials temperature

B. Anti- 2. Magnetostrictive

Ferroelectric transducers

materials

C. Ferrites 3. Magnetocaloric

effect

40.

D. Ferro-rnagnetic 4. Cannot be

materials ' shaped by

ordinary

machining

process

Code :

A ' B C D

(a) 2 '4 1 s

(b) 3 4 1 2

(c) 2 l 4 3

(d) 3 1 ‘ 4_ 2

t 9 - A i

For the circuit shown, the values of 2(a)

as s —> 0 and s —> w are respectively given

by

(a) s

(b) g, g

(c) g

(d) 4s + g, g

The precision of a ramp type digital voltmeter

depends on

(a) frequency of the generator and slope of

the ramp

(h) frequency of the generator

is) slope of the ramp

(d) switching time of the gatePage 10

41. ‘ The transfer function of a phase-lead

compensator is given by G(s) = 1+3TS ,

1+Ts

T > O. The maximum phase shift provided by

such a compensator is

(a) 90°

(1)) 60°

(c) 45°

(d) 30°

42. Match List '1 with List II and select the

correct answer using the code given below

the lists : '

List I List H

A. Iron loss of a 1. Electrostatic

choke carrying wattmeter

ac. current at

50 Hz along

with d.c.

B. Calibration oi" a 2. Oscilloscope

dynamometer

type wattmeter

C. Dielectric loss 3. DC.

of a capacitor Potentiometer

at 20 Hz

D. Power loss of 4. A.C.

an insulator Potentiometer

testing at

high voltages

Code :

A B C D

(a) 3 1 4 . 2

(b) 2 1 4 3

(c) 3 4 1 2

(d) 2 4 1 3

Q-GUG-K-FFA

43.

45.

l'IO—Al

If the initial voltage across 'the capacitor

of 2 Farad is V(O) = 1, the voltage and

charge on the capacitor at t = 3 sec after

connecting a current source IS = 2A at

t = 0 are respectively

(a) 2 V, 4 coulomb

(b) - 2 V, 4 coulomb

(c) 4 V, 8 coulomb

(d) 8 V, 4 coulomb-

Consider the following statements :

The coercive force'can be increased by

1. Adding Cobalt because it is a

ferromagnetic material.

2. Adding Gold because it is a djamagnetic

material.

3. Adding Super alloy.

4. Space charge polarizing.

Which of the above statements is/are

correct ?

(a) 1, 2, 3 and 4

(b) 1 only

(c) 2 only

(d) l and 3 only

0

1f the load impedance is 100 ohm and input

impedance is 25 ohm, then the

characteristic impedance of the transmission

line is

(a) 70 ohm

(b) 60 ohm

(c) 50 ohm

(d) 40 ohmPage 11

46. Temperature below which certain materials

are anti-ferromagnetic is called

(a) Curie temperature

(In) Neel temperature

(cl Wéin temperature

(d) Debye temperature

47. Consider the-following statements :

A step voltage is applied to an

under-damped series RLC circuit in which R

is variable. If R is

1. increased, the steady-state voltage

across C will be reduced.

2. increased, the frequency of transient

oscillations across C will be. reduced.

3. reduced, the transient oscillations will

die down at a fast rate.

4. reduced to zero, the peak amplitude of

the voltage across C will be double that

of input voltage.

'Which of the above statements is/are

' correct '? '

(a) '2 only

(b) 4. only

(0) 2 and 4 only

(£1) 1, 2, 3 and 4

48. A moving coil ammeter having a resistance of

1 ohm gives full scale deﬂection when a

current of 10 mA is passed through it. The

instrument can be used for the measurement

of voltage up to 10 V by

(a) connecting a resistance of 999 ohm in

series with the instrument

(b) connecting a resistance of 999 ohm

parallel to the ammeter

to) connecting a resistance of 999 ohm

parallel to the load

(d) connecting a resistance of 1000 ohm in

series with the load

ll-GUG-K-FFA

(11 —A-)

3119. A B4k§l

t=O

40v sov-

For the circuit shown above, the switch has

been in position A for a long time. At t = 0-,

the switch is moved to B. Then, the capacitor.

voltage Vc(t)lfor t > 0 is p _

(a) vCe) = (24 - 6 8-211) v

(b) Vc(t) = (30 - 1.5 84"“) v

@- vcoi = (e - 6‘ e_2L) v

(a) vow = (so _ 5 505‘) v

Consider the following statements :

Electrets are the materials which are

1. having permanent electric moments.

- 2. electromagnets.

3. very similar to permanent magnet

materials.

4. similar to anti-ferroelectric materials.

Which _ of

correct ?

the above statements is/are

(a) 2 only

(b) 1 andﬁ only

(c) 2 and 3 only

on _1,'2, 3 and 4Page 12

51. Consider the following statements :-

Magnetic susceptibility

1. depends on the nature of the magnetic

material.

2. is not on the

permeability of the medium.

dependent

3. cannot be determined by measuring the

force exerted on a magnetic material

when placed in a magnetic ﬁeld.

4. _ can be determined from M —-H curve.

Which- of the above statements is/are

correct ?

(a) 1, 2, 3 and 4

(b) 1. only

(0) 1 and 4 only'

(a) 2 only

52. For a series RLC circuit energized with a

sinusoidal voltagesource of frequency .4 rad/s,

the applied voltage lags the current by an

angle of tan_1 2 degrees. Then the value of R

for L: 1H and C=O-05F is

(a) 4-0 ohm

(b) 2-0 ohm

(o) 1-0 ohm

((1) 0-5 ohm

Q-GUG-K-FFA

relative

53.

> c(t)

The feedback system shown above is stable fo

all values of K given by ' ‘

(a) _K>Oi

'03) K<i0

(d) 0<K<60

54.

55.

' (b)

_ The value of the multiplier resistance for a dc

voltmeter, having 50 V range with 5 kQ/V

sensitivity, employing a 200 pA meter

movement and having internal resistance of

100 Q, is given by

2499 k!)

(a)

(b) 200 D

(c) 200 k!)

(d) 2-5 M)

' it

. l

C=2F_:: 0-25H 0-259 l

For the given circuit,' the initial inductor

current and the voltage across the capacitor

are zero and 2, respectively. When the switch

‘ dv-

S is closed at t = O, the values of v_and

are, respectively

(a) 2, - 4

0, 0-25

' (c) ' O, - 0-5 '

(d) 2, O

{12-AlPage 13

56.

Match List I with List II and select the correct

answer using the code given below the lists :

List I ' List 11

A. Enamel - Laminations

covering

B. Insulation 2. Wires

C. Fibrous 3. Machines

materials

D. Empire 4. Transformers

_ cloth

Code :

A B C D

(a) 2 4 1 3

(bl- 3 4 1 2

(c) 2 1 4 3

(d) 3 1 4 2

57._ For an a.c. circuit, if v(t) = 160 sin (mt + 10°)

and i(t] = 5 sin (mt — 20°), the reactive power

absorbed by the circuit is '

(a) 100 VARs

(b) 200 VARs

(C) 300 VARs

(d) 400 VARS

_58. A signal of 10 V is applied to a 50 ohm coaicial

transmission line,_terminated in a 100 ohm

load. The voltage reﬂection coefﬁcient is

l

(a) Z

1

b _

( l 3

1

(c) - .

(d) 1

Q-GUG-K-FFA

59. .

60.

(13—Al

Z-axis

Consider the following statements _'.

Factors affecting the dielectric loss are

1. directly proportional to the frequency of

supply voltage.

2. inversely proportional to I the supply

frequency. ‘

3. inversely proportional to the square of l

the supply voltage.

4. directly proportional to the square of the

supply voltage.

Which of the above statements are correct '?

(a) 1 and 3 only

(b) 2 and 3 only

in) 2 and 4 only

(d) 1 and 4 only

A conductor 2 metre long lies along the

with 'a 10 A in

magnetic ﬁeld is.

current of

dz direction. It the

E = 0-05 dXT; the force on the conductor

is

7(a) 40-5;Y N

(b)‘ 12-0 33 N

(0) 1-0 5“, N

(a) 3-0 £2 NPage 14

61. Using Routh’s criterion, the number of roots 63.

in the right half S-plane for the

characteristic equation : '

s4+2s3+2s2+3s+6=0 is

(a) one

(b) two

(c) three

' (d) four

62. Match List I with List II and select the

correct answer. using the code given below

the lists :

List I List If

A. Electrostatic 1. Power at 50 Hz 64

' only '

B. Induction ' 2. Power at

' frequencies ranging

from dc to RF

C. Dynamometer 3. Power at unity

powar factor and at

high values

7 D. Thermal 4. Power at

- frequencies ranging

from dc to 150 Hz

Code :

A B c '1)

(a) 3 1 _ _ 4- 2 65.

(b) 2 1 4 3

(c) 3 4 1 - 2

(d) 2 4 1 3

Q-GUG-K-FFA ,1 14 _ A )

. I (pm

For the circuit shown, the voltage across the

1 ohm resistOr is given by

(a) :EV

(b) 2 v

(c) g v

(d) g v

Consider the following statements :

Characteristics of a good insulating material

are '

d

1. Should give- uniform electric and '

thermal properties.

2. High permittivity. '

1 3. Low dissipation factor.

4. Low insulating resistance.

Which of the above statements are correct ?

(a) 1 and 4 only

(b) 2 and. 4 only

(c) 1 and 3 only

((1) 1, 2, 3 and 4

At a “measuring frequency of 1012 Hz, the

dielectric constant of a material will be due to

(a)\ Electronic polarization

(b) Ionic polarization

(c) Electronic and Ionic polarization

(d) Electronic, Ionic - and Orientational

polarizationPage 15

66. A load is connected to an active network. At

the terminals to which the load is connected,

Rth = 10 Q and Vth = 60 V. Then the

maximum power supplied to the load is

(a) 360 W

(b) 90 W

(0) 60_ W ‘

(d) 10 W

67. A basic D’Arsonval movement with a full scale

deﬂection of 50 uA and internal resistance of-

500 His used as voltmeter. The value of the _

multiplier resistance needed to employ this -

meter to measure a voltage range of (0 — 10) V

is given by

(a) 100 ME ‘

(b) 500 M)

(0) 199-5 k9

(d) 2 x 105 M2

68. The feedback control system represented by

the open loop transfer function

' 10(s + 2) .

G(s) H(s) = ————— 15

[(8 + 1) (s + 3) (S - 5)]

(a) unstable 7

(b) stable

(c) marginally stable

. (d) insufﬁcient data

69. Consider the following statements regarding

measurement 'of 3-phase power by

two-wattmeter method; one of the wattmeter

reads negative implying :_

1. Power factor is less than.O-5.

2. Power ﬂow is in the reverse direction.

3. Load power factor angle is greater than

60°.

4. Load is unbalanced.

Which of the. above statements are correct ?

(a) 1 and 2 only .

(b) 2 and 3 only

(c) 1 and 3 only

(£1) 1, 2, 3 and 4

70.

71.

72.

( 15 —"Al

4Q 4Q

W ia

QWQ) @M gen <——-

31).

Applying Norton’s Theorem, the Norton's

equivalent circuit to the left of the terminals a

and b in the above circuit is having equivalent

current source (IN) and equivalent resistance

(RN) as

.(a) IN=5A§RN=4Q

(b) IN=4A;RN=GQ

(c) 1N=9A;RN=1-BQ

(d) IN=4A;RN=BQ

'The property characteristic of ferroelectric

materials is

Dielectric relaxation

(a)

(b) Dielectric breakdoWn

(c) Spontaneous polarization

(d) Spontaneous magnetization I

A uniform plane wave is propagating in a

material for which 8 = 480, |.t = 7 no

and o: 0. The 'skin depth for the material'

is '

(a) zero

(b) inﬁnity

(6) 28 m

(d) 14 mPage 16

is;

74.

Q-GUG-K-IIIFA

"Consider the following statements about

superconductors ::

\1. The temperature at which the conductor

becomes a superconductor is called

transition temperature.

'2. Superconductors repel magnetic flux

lines.

3. All superconductors are paramagnetic

materials.

4. Superconductors become normal 'when

placed in a magnetic ﬁeld of certain

critical value.

Which of the above statements are correct '?

(a) 1 and 2 only

([1) 2 and 4 only

(0) 1, 2 and 4 only

(d) 1, 2, 3 and 4

Consider the following statements in

connection with the closed-loop poles of

feedback control system :

1. Poles on jw-axis will make the output

1." - ' amplitude neither decaying nor growing

in time.

H 2." ‘1 Dominant closed-loop poles occnr in the

form of a complex conjugate pair.

3. The gain of a higher order system is

adjusted so that there will exist a pair of I

78.

complex conjugate closed-loop poles on

jto-axis. '

4. The presence of complex conjugate

closed-loop poles “reduces the effects of

such non-linearities as dead zones,

backlash and coulomb friction.

Which of the above statements is/are correct ?

(a) 2 only

(b) 2, 3 land 4 only

(c) 1, 2 and 4 only I

(d) l, 2, 3 and 4

75.

76.

77.

l16—Al

The sensitivity of 200 pA meter movement

when it is used as a dc voltmeter is given by

(a) 500 o/mv

(b) 5 M!

(C) 0-5 Q/mV

(d) . 5 o/mv

Consider a unity feedback control' system

with open—loop transfer function I

(KS) K (s + 1) I

s(s + 2) (s + 3)

error of the system due to a unit step input

is . -

The ‘ steady-state

I

(a) zero

(b) Km

(0) 6/};

(d) inﬁnite

A 1 mA meter. movement with an internal

resistance of 100 Q is to be converted into

(0 — 100) mA. To achieve this; value of shunt

resistance Rsh is given by

(a) l k!)

(b) 200 Q

(c) 1-01 Q

(d) 1-01 kQ

j50 Q 10 Q

W NW»

GD 50@

The maximum power that “can be transferred

in the load ZL in the above circuit is

(a) 12-25 W

(b) 62-5 W

(0) 24-5 W

(d) 500 WPage 17

79. Match List I with List II and select the

correct answer using the code given below

the lists :

Est—I ' List II

A. Precision work 1. Graphite

B. Rheostat 2. Nichrome

C. Heating devices 3. Constantan

D. Brushes 4. Magnesium

Code :

A B C D

I (a) 4 3 2 l

(b) l 3 2‘ 4

(c) 4 2 3 1

(d) 1 2 l 3 4

80. Consider the following statements :

1. In conducting medium the ﬁeld

attenuates exponentially with increasing

depth.

2. Conducting medium behaves like an

open circuit to the electromagnetic ﬁeld.

3. In lossless dielectric relaxation time is

inﬁnite.

4. In' charge-free region, the Poisson’s

equation becomes Laplace’s equation. '

Which of the above statements are correct ?

.(a) l, 2 and 3 only

(b) I 1, 3 and 4 only

(cl 2, 3 and 4 only

(d) 1, 2, 3 and 4

Q-GUG-K-FFA

81.

82.

[17—A)

(d)

In a Hexagonal Close Packed (HCP) crystal

if ‘a, I ’

structure, and 0

respectively the short and long unit cell

represent,

dimensions the ratio shcmld be

(a) 12-00

(b) 0-74

(c) 1-633

16-33

29

4:13.

The Thevenin’s equivalent of the circuit

shown above is

(a) O'75.V, 1-59

(h) 1-5v,1-5-o

(c) 1-5 v, 0-75 0

((1) 50 V, 15 QPage 18

83. Consider the following statements about 86.

' hot-wire instruments-'3‘"

1. They read equally well on dc and/or ac

' circuits. - '

2. They are simple and robust in

construction and power consumption is

low.

3. They are quite suitable for

measurement of currents at very high

. frequencies.

Which of the above statements are correct ?

(a) 1» and 2 only .

(b) ' 2 and 3 only '

(c) 1 and 3 only 87'

(d) 1, 2, 3 and 4

4 Q 2 n

84’ I g m

. I. + I.

6A glQ so; _—_;3v

For the circuit shovm. above, _I is

(a) 0 A

(b) 1 A

(c) '2 A

(d). 3 A

85. A semiconductor_ has a band gap of 2 eV. The

wavelength of radiation emitted from the

semiconductor when electrons and holes

recombine is

(a) 625 nm

(b) 625 um

(c) 625 mm _ ‘

(d) 625 cm

O-GUG-K-FFA'J { 18 -— A )

_ (d)

In free space -

Ea, o = 60112 cos (Lot - [max Wm. The

average power crossing a circular area of 1:

square metres in the plane Z = constant is

(a) 16 1|: Watts/Iii2

(b) l5 1: watts/1n2

(c) 14 watts/m2

13 n watts/m2

Match List I with List II and select the

correct answer using the code given below

the lists :

List I ' List H

A. Metals 1. Are in I

spontaneously

polarized state

B. Semiconductors 2. Finite

- forbidden gap

C. Insulators 3. Smaller

forbidden gap

D. Ferroelectric 4. Partially ﬁlled

crystals ' bands

Code:

A B C D

(a) 4 s 2 ' 1

(b) 1 3 2 - 4

(c) 4 2 3 1

(d) 1 2 3 4Page 19

88.

The currents I1 and-VI2 in the above circuit

are respectively .

I (a) 4 A; 4 A

(b) 3 A; 5 A

(c) 2 A; 6 A

(d) 6 A; 2 A

89. A {0 - 25) Amp ammeter has a guaranteed.

accuracy of 1 percent of full scale reading. '

The Current measured by this arnmeter is

10 Amp. The limiting error in percentage

for this instrument is

(a) 25%

(b) 05%

(c) 025%

(d) o-ozsvn'

I Given a unity feedback system with

'G(s) = K , the value of K for damping

s(s+4) _ '

ratio of 0-5 is

“. (a) 1

(b) 16

(c) 4

(d) 2

Q-GUG-K—FFA

91.

92.

' la)

93.

The pressure in 'a tank varies from .20 psi

to 100 psi. Further pressure. in the tank is

desired to be kept at 50 psi. The full

scale error, when pressure inside the tank

is 30 psi, is given by

(a). -62-5%‘

(b) 25%

(c) 80% ‘

(d) f- 25%

The currents Il'and 12 in the above circuit are

respectively ' 7

1-818 a; - 0-4545 A

(b) 2-451 A; - 1-568 A

(c) 0-4545 A; é-11-818 A

(6) 1-56 A; - 2-45‘A'

The following data'

measurement on gold :

are obtained by

Density = 19-32 gm/cc

Resistivity = 2-42 pQ/cm

Atomic weight 197-2 ‘

The mobility of electrons in gold is

(a) 4-39 x 10—3 m2/V—sec

(1)) 4-39 x 10—2 mZ/V-sec

(0) 4-39 mZIV-sec

(d) 4-39 x 103 mZ/V-sec.

{19—AlPage 20

94.

electron current of 40 A.

‘ (a) '40

(b) 30

' (c) 20

(d) 10

‘ the lists : '

ListI

A. High

conductivity '

materials

B. High resistivity 2.

materials

C. Metals for 3.

lightly loaded

contacts

D. Materials for_ 4.

bimetallic strip

Code :

A B C'

(a) 3 1 2

(b) 4 1 2’

(c) ‘3 2 _ 1

(d) 4 2 1

Cl-GUG—K—FFA

A magnetic ﬁeld E of 2T is normal to a

copper strip 05 mm thick carrying an-

If the electron'

density is 10-0 x 1028 per cubic metre, the

voltage across the strip in micro volt is

95. Match List I with List II and select the

correct answer using the code given below

. List 11

' Tungsten,

Carbon

Platinum,

Molybdenum

Aluminium,

Copper

_ Iron, Nickel,

Constantan

l20-A_l

96.

. 97.

1. 105 ohms

If the power dissipated in the circuit shown

above is 8 W", then the value of E will be

(a) 2 V .

(b) 4 V

(c) 8 V

(d) 16 V

A resistance of' 105 ohms is speciﬁed using

signiﬁcant ﬁgures as indicated below :

2. 105-0 ohms

3. _ 0-000105 pQ

Among these

(a) 1 represents greater precision than

. 2 and 3.‘

(b) 2 and represent greater precision

than 1.

(c)v 1, 2 and 3 represent same precision.

(d)

2 represents greater precision but 1 and

3 represent same precision.